# NOTICE OF INTENT

# EVERWIND STRAIT CROSSING TRANSMISSION LINE PROJECT, STRAIT OF CANSO, NOVA SCOTIA – PUBLIC COMMENTS INVITED

August 8, 2025 – Transport Canada (TC) must determine whether the portion of the proposed EverWind Strait Crossing Transmission Line Project that crosses the Strait of Canso, Nova Scotia is likely to cause significant adverse environmental effects. The EverWind Strait Crossing Transmission Line Project (the Project) underwent a provincial Environmental Assessment and was approved by the Minister of Environment and Climate Change on April 25, 2025, subject to several conditions.

To help inform this determination, Transport Canada is inviting comments from the public respecting that determination. All comments received will be considered public and may be posted online. For more information, individuals should consult the Privacy Notice.

Written comments must be submitted by September 8, 2025 to:

Sylvie Poirier

Regional Environmental Advisor

Transport Canada, Atlantic Region
6th Floor – 95 Foundry Street

Moncton, NB

E1C 5H7

506-377-2152

sylvie.poirier@tc.gc.ca

## The Proposed Project

EverWind Fuels (EverWind), the Proponent, is proposing to construct and operate the EverWind Strait Crossing Transmission Line, a new 345 kilovolt overhead transmission line that will span the Strait of Canso from Steep Creek, Guysborough County, to the Point Tupper Hydrogen and Ammonia Production Facility (the Facility) in Richmond County. The Project will allow for the transmission of renewable energy generated from select wind farms to be developed by EverWind in the Municipality of the District of Guysborough and St Mary’s, to the Facility. The scope of TC’s review is limited to the transmission line span crossing the Strait of Canso.

The transmission crossing span is 1.5 kilometres and requires specialized suspension towers that are approximately 210 metres in height. The suspension towers will be located on private lands on either side of the Strait of Canso. A 75 m midspan clearance has been selected to accommodate sufficient clearance for the air draft of the largest vessels likely to pass through the Strait of Canso. This clearance applies only at the center of the crossing and gradually increases towards each shoreline. The Proponent has also committed to installing transmission line sag monitoring systems.